## Nalampatti Water Quality 2022
Year : 2022 |  |  |  |  | BDL = Below Detection Limit |  |  | Note: Values highlighted in red are the above permissible limit.
Sample Number | pH | Turbidity | Hardness | Calcium | Magnesium | Alkalinity | Chloride | Nitrate | Nitrite | Ammonia | Phosphate | Fluoride | Iron
Standard | IS10500 | IS10500 | IS10500 | IS10500 | IS10500 | IS10500 | IS10500 | IS10500 | EPA | IS10500 | WHO | IS10500 | IS10500
Upper | 8.5 | 5 NTU | 600 mg/L | 200 mg/L | 100 mg/L | 600 mg/L | 1000 mg/L | < 45 mg/L | < 1 mg/L | < 0.5 mg/L | < 0.1 mg/L | 1.5 mg/L | < 0.3 mg/L
Lower | 6.5 | 1 NTU | 200 mg/L | 75 mg/L | 30 mg/L | 200 mg/L | 250 mg/L |  |  |  |  | 1 mg/L
1 | 7.5 | 1.63 | 70 | 14 | 56 | 88.8 | 28.2 | 1 | BDL | BDL | 0.1 | 1 | BDL
2 | 7.9 | 7.67 | 148 | 29.6 | 118.4 | 177.6 | 63.5 | BDL | BDL | BDL | 0.9 | 1.5 | 2
3 | 7.9 | 0.01 | 218 | 43.6 | 174.4 | 199.2 | 77.6 | 55 | 0.2058 | BDL | 0.1 | 3 | BDL
4 | 7.6 | 0.03 | 124 | 24.8 | 99.2 | 124.8 | 42.3 | 45 | BDL | BDL | 0.9 | 1 | BDL
5 | 7.4 | 0.03 | 134 | 26.8 | 107.2 | 163.2 | 119.9 | 25 | 0.2744 | BDL | 0.1 | 1 | 0.3
6 | 7.4 | 0.04 | 242 | 48.4 | 193.6 | 213.6 | 211.5 | 75 | 0.1372 | BDL | 0.3 | 1 | BDL
7 | 7.7 | 0.04 | 198 | 39.6 | 158.4 | 228 | 105.8 | 45 | 0.0686 | BDL | 0.6 | 1 | 0.3
8 | 7.5 | 0.04 | 122 | 22.4 | 99.6 | 158.4 | 49.4 | 25 | 0.0343 | BDL | 0.1 | 1 | BDL
9 | 7.7 | 0.14 | 164 | 32.8 | 131.2 | 168 | 63.5 | 25 | 0.0686 | BDL | 0.1 | 1.5 | BDL
10 | 7.5 | 0.13 | 118 | 23.6 | 94.4 | 130.8 | 28.2 | 25 | 0.0343 | BDL | 0.9 | 1 | BDL
11 | 7.4 | 0.03 | 500 | 100 | 400 | 177.6 | 423 | 55 | 0.0343 | BDL | 0.1 | 1 | BDL
12 | 8.2 | 0.5 | 77 | 30 | 232.7 | 77 | 91.65 | BDL | 0.0343 | BDL | 0.6132 | 1.3 | BDL
13 | 7.9 | 0.25 | 293 | 120 | 246.8 | 130 | 232.6 | 55 | 0.0686 | BDL | 1.5 | 1 | BDL
14 | 8.2 | 0.16 | 216 | 40 | 260.9 | 12 | 26.085 | 25 | BDL | 0.5 | 0.3066 | 1 | BDL
15 | 7.9 | 0.2 | 216 | 100 | 274.9 | 160 | 21.855 | 45 | 0.606 | BDL | 1.3 | 1 | BDL
16 | 7.9 | 0.23 | 252 | 70 | 289 | 240 | 77.55 | >100 | BDL | BDL | BDL | 1 | BDL
17 | 7.6 | 0.14 | 336 | 120 | 303 | 168 | 239.7 | 55 | 0.2058 | BDL | 0.3066 | 1 | BDL
18 | 8 | 0.02 | 109 | 50 | 317.1 | 108 | 49.35 | BDL | 0.0343 | BDL | 0.9198 | 1.3 | BDL
19 | 8 | 0.07 | 93.5 | 60 | 331.2 | 88 | 28.2 | BDL | BDL | BDL | 0.6132 | 1 | BDL
20 | 8.2 | 0.12 | 96 | 50 | 345.2 | 24 | 28.2 | BDL | 0.343 | BDL | 0.6132 | 1 | 0.3
21 | 8.1 | 0.46 | 110.5 | 40 | 359.3 | 96 | 17.625 | BDL | 3.43 | BDL | BDL | 1.3 | 0.3
22 | 8 | 0.41 | 230.4 | 90 | 373.3 | 216 | 77.55 | 45 | 0.0343 | 0.5 | 0.3066 | BDL | BDL
23 | 7.9 | 0.13 | 103.2 | 70 | 387.4 | 165.6 | 42.3 | 25 | 0.0686 | BDL | 0.3066 | 1 | BDL
24 | 8 | 0.29 | 192 | 70 | 401.4 | 104.4 | 35.25 | 25 | 0.0686 | BDL | 0.9198 | 0.5 | BDL
25 | 8.1 | 0.01 | 112.8 | 60 | 415.5 | 103.2 | 21.15 | 25 | 0.0686 | 0.5 | 0.6132 | 1 | BDL
26 | 8 | 0.24 | 18.48 | 70 | 429.6 | 206.4 | 98.7 | 75 | 3.43 | BDL | 0.9198 | 1 | BDL
27 | 7.9 | 0.37 | 127.2 | 90 | 443.6 | 194.4 | 56.4 | 45 | 0.0343 | BDL | 0.3066 | 1 | BDL
28 | 8.5 | 0.1 | 117.6 | 90 | 457.7 | 187.2 | 63.45 | 25 | 0.0686 | BDL | 0.3066 | 1 | BDL
29 | 8 | 0.05 | 331.2 | 130 | 471.7 | 183.6 | 282 | 55 | BDL | BDL | 0.3066 | 0.5 | BDL
30 | 7.5 | 0.43 | 220.8 | 100 | 485.8 | 194.4 | 162.15 | 55 | 0.0686 | BDL | 0.3066 | 1 | BDL